## Slide 1
Experiment (1/6)
Manual Control
electric heater
thermometer
V
T

## Slide 2
Manual Control
electric heater
thermometer
V
T
Experiment (1/6)

## Slide 3
Automatic Control
Experiment (2/6)

## Slide 4
Automatic Control
Experiment (2/6)

## Slide 5
Experiment (3/6)
Increasing gain K

## Slide 6
Experiment (4/6)

## Slide 7
Experiment (5/6)

## Slide 8
Experiment (6/6)
Disturbance Rejection

## Slide 9
Experiment (6/6)
Disturbance Rejection

## Slide 10
Feedback Control (Closed-loop)
Dynamical Systems (differential equation); No static maps
Linear vs. Nonlinear Systems/Control
Continuous vs. Discrete
Design: Time Performance, Stability, Robustness
Applications: Automotive, Aerospace, Robotics, Industries, Embedded, Military… Everywhere!
Large variety of techniques, but PID rules the world of controllers!

## Slide 11
Hi-Tech Applications of PID
Traction Control

## Slide 12
PID Control

## Slide 13
PID: Proportional
Do most of the job
Higher gain leads to faster response but closer to instability (oscillations)
Cannot always guarantee zero steady-state error ( is sustainable at steady-state?)

## Slide 14
PID: Integral
Look back at the accumulated error P is unable to correct
Guarantee zero steady state error
Increase controller’s inertia, hence instability

## Slide 15
PID: Derivative
Look forward regulating the predicted error
Reduce oscillations
Computing derivative robustly is difficult  noise gets amplified

## Slide 16
How to tune a PID?
 | Speed | Stability
increases | increases | reduces
increases | increases | reduces
increases | increases | increases
 | Speed | Stability
 | increases | reduces
 | increases | reduces
 | increases | increases

## Slide 17
Modeling and Identification
(aka Tuning made right)

## Slide 18
Feed-forward Control (Open-loop)
If the model is known, why don’t we use this information?
Increase performance
Feedback controller is still used to ensure robustness

## Slide 19
Discrete PID
Time to take on some challenges ;)
https://janismac.github.io/ControlChallenges

## Slide 20
Gbit Ethernet
PC104
Sensors & Actuators
ipos->positionMove(poss.data());
while (norm(poss-encs)>1.0) {
Time::delay(0.1);
ienc->getEncoders(encs.data());
cout<<encs.toString()<<endl;
}
USER CODE @ 100 Hz
FIRMWARE @ 1 KHz
CONTROLLERS
DC MOTORS
Joint Control (1/5)

## Slide 21
Gbit Ethernet
PC104
Sensors & Actuators
ipos->positionMove(poss.data());
while (norm(poss-encs)>1.0) {
Time::delay(0.1);
ienc->getEncoders(encs.data());
cout<<encs.toString()<<endl;
}
USER CODE @ 100 Hz
FIRMWARE @ 1 KHz
CONTROLLERS
DC MOTORS
Joint Control (2/5)

## Slide 22
#include <yarp/dev/all.h>
Property option;
option.put("device",“remote_controlboard");
option.put("remote","/icubSim/head");
option.put("local","/client/head");
PolyDriver clientJointCtrl(option);
IEncoders *ienc=NULL;
IControlMode *imod=NULL;
IVelocityControl *ivel=NULL;
if (clientJointCtrl.isValid()) {
clientJointCtrl.view(ienc);
clientJointCtrl.view(imod);
clientJointCtrl.view(ivel);
}
OPENING THE JOINT INTERFACE
Joint Control (3/5)

## Slide 23
Joint Control (4/5)
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]

## Slide 24
Joint Control (4/5)
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]

## Slide 25
Joint Control (4/5)
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]

## Slide 26
Joint Control (4/5)
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]

## Slide 27
Joint Control (4/5)
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]

## Slide 28
Joint Control (4/5)
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]

## Slide 29
Joint Control (4/5)
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]
Joint # | Part | Joint Name | Range | Unit
0 | Neck | Pitch |  | [deg]
1 | Neck | Roll |  | [deg]
2 | Neck | Yaw |  | [deg]
3 | Eyes | Tilt |  | [deg]
4 | Eyes | Version |  | [deg]
5 | Eyes | Vergence |  | [deg]

## Slide 30
Joint Control (5/5)

## Slide 31
Geometry of Pixels
Disparity:
objects closer than current fixation point 
vergence controls disparity
Left Image 320x240
Right Image 320x240
0,0

## Slide 32
?
?
?
?
?
?
Image Based Joint Velocity Control (1/2)
Left Image 320x240

## Slide 33
?
?
Left Image 320x240
Image Based Joint Velocity Control (1/2)
Is P sufficient?
What happens if the object moves at constant speed?

## Slide 34
?
?
?
Left Image 320x240
Right Image 320x240
Image Based Joint Velocity Control (2/2)

## Slide 35
Left Image 320x240
Right Image 320x240
Image Based Joint Velocity Control (2/2)
Version and Vergence are coupled!
!

## Slide 36
http://y2u.be/I4ZKfAvs1y0
The Gaze Controller